## Failurelist
AML
FAILURELIST | NEWFAILURELIST | FAILURECODE | Column1 | PARENT | New Parent | TYPE | Description
1 | 1000 | ELECTRONIC |  |  |  |  | Cameras, computers, sensors, ETTM, fire & life, FEC’s, fibre, etc. | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1000', 'ELECTRONIC', '', '', 'AML');
2 | 1001 | NO-RESPONSE |  | 1 | 1000 | PROBLEM | No Response (for electronical devices), not operating | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1001', 'NO-RESPONSE', '1000', 'PROBLEM', 'AML');
3 | 1002 | POWER-LOSS |  | 2 | 1001 | CAUSE | Loss of source of Power | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1002', 'POWER-LOSS', '1001', 'CAUSE', 'AML');
4 | 1003 | CUT-DISCONNECTED |  | 2 | 1001 | CAUSE | Cut or disconnected | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1003', 'CUT-DISCONNECTED', '1001', 'CAUSE', 'AML');
5 | 1004 | COMPONENT-FAILURE |  | 2 | 1001 | CAUSE | Faulty or Blown up component | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1004', 'COMPONENT-FAILURE', '1001', 'CAUSE', 'AML');
6 | 1005 | SETTING |  | 2 | 1001 | CAUSE | Setup/Adjustment problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1005', 'SETTING', '1001', 'CAUSE', 'AML');
7 | 1006 | LOOSE |  | 2 | 1001 | CAUSE | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1006', 'LOOSE ', '1001', 'CAUSE', 'AML');
8 | 1007 | PERFORMANCE-ISSUE |  | 1 | 1000 | PROBLEM | Low or bad performance | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1007', 'PERFORMANCE-ISSUE', '1000', 'PROBLEM', 'AML');
9 | 1008 | HIGH-TEMP |  | 8 | 1007 | CAUSE | High temperature | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1008', 'HIGH-TEMP', '1007', 'CAUSE', 'AML');
10 | 1009 | SETTING |  | 8 | 1007 | CAUSE | Setup/Adjustment problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1009', 'SETTING', '1007', 'CAUSE', 'AML');
11 | 1010 | COMPONENT-FAILURE |  | 8 | 1007 | CAUSE | Faulty or Blown up component | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1010', 'COMPONENT-FAILURE', '1007', 'CAUSE', 'AML');
12 | 1011 | LOOSE |  | 8 | 1007 | CAUSE | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1011', 'LOOSE ', '1007', 'CAUSE', 'AML');
13 | 1012 | DIRTY |  | 8 | 1007 | CAUSE | Dirty | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1012', 'DIRTY', '1007', 'CAUSE', 'AML');
14 | 1013 | APPEARANCE |  | 1 | 1000 | PROBLEM | Appearance and cleanness problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1013', 'APPEARANCE', '1000', 'PROBLEM', 'AML');
15 | 1014 | GRAFFITI |  | 14 | 1013 | CAUSE | Graffiti | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1014', 'GRAFFITI', '1013', 'CAUSE', 'AML');
16 | 1015 | LEAKAGE |  | 14 | 1013 | CAUSE | Leaking (water or other liquids) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1015', 'LEAKAGE', '1013', 'CAUSE', 'AML');
17 | 1016 | DIRTY |  | 14 | 1013 | CAUSE | Dirty | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1016', 'DIRTY', '1013', 'CAUSE', 'AML');
18 | 1017 | PHYSICAL-DAMAGE |  | 14 | 1013 | CAUSE | Physical or Mechanical problems (e.g. got hit, deformed, bent) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1017', 'PHYSICAL-DAMAGE', '1013', 'CAUSE', 'AML');
19 | 1018 | LOOSE |  | 14 | 1013 | CAUSE | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1018', 'LOOSE ', '1013', 'CAUSE', 'AML');
20 | 1019 | ELECTRICAL |  |  |  |  | Electrical Distribution and switching equipment including lighting & conduits, cable and wires etc. | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1019', 'ELECTRICAL', '', '', 'AML');
21 | 1020 | NOT-OPERATIONAL |  | 20 | 1019 | PROBLEM | Not operational (to be used for mechanical and electrical systems) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1020', 'NOT-OPERATIONAL', '1019', 'PROBLEM', 'AML');
22 | 1021 | POWER-LOSS |  | 21 | 1020 | CAUSE | Loss of source of Power | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1021', 'POWER-LOSS', '1020', 'CAUSE', 'AML');
23 | 1022 | CUT-DISCONNECTED |  | 21 | 1020 | CAUSE | Cut or disconnected | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1022', 'CUT-DISCONNECTED', '1020', 'CAUSE', 'AML');
24 | 1023 | TRIPPED |  | 21 | 1020 | CAUSE | Tripped due to over load, current or temperature. | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1023', 'TRIPPED', '1020', 'CAUSE', 'AML');
25 | 1024 | COMPONENT-FAILURE |  | 21 | 1020 | CAUSE | Faulty or Blown up component | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1024', 'COMPONENT-FAILURE', '1020', 'CAUSE', 'AML');
26 | 1025 | SETTING |  | 21 | 1020 | CAUSE | Setup/Adjustment problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1025', 'SETTING', '1020', 'CAUSE', 'AML');
27 | 1026 | LOOSE |  | 21 | 1020 | CAUSE | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1026', 'LOOSE ', '1020', 'CAUSE', 'AML');
28 | 1027 | PERFORMANCE-ISSUE |  | 20 | 1019 | PROBLEM | Low or bad performance | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1027', 'PERFORMANCE-ISSUE', '1019', 'PROBLEM', 'AML');
29 | 1028 | HIGH-TEMP |  | 28 | 1027 | CAUSE | High temperature | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1028', 'HIGH-TEMP', '1027', 'CAUSE', 'AML');
30 | 1029 | SETTING |  | 28 | 1027 | CAUSE | Setup/Adjustment problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1029', 'SETTING', '1027', 'CAUSE', 'AML');
31 | 1030 | COMPONENT-FAILURE |  | 28 | 1027 | CAUSE | Faulty or Blown up component | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1030', 'COMPONENT-FAILURE', '1027', 'CAUSE', 'AML');
32 | 1031 | LOOSE |  | 28 | 1027 | CAUSE | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1031', 'LOOSE ', '1027', 'CAUSE', 'AML');
33 | 1032 | INSULATION |  | 28 | 1027 | CAUSE | Insulation problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1032', 'INSULATION', '1027', 'CAUSE', 'AML');
34 | 1033 | APPEARANCE |  | 20 | 1019 | PROBLEM | Appearance and cleanness problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1033', 'APPEARANCE', '1019', 'PROBLEM', 'AML');
35 | 1034 | GRAFFITI |  | 34 | 1033 | CAUSE | Graffiti | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1034', 'GRAFFITI', '1033', 'CAUSE', 'AML');
36 | 1035 | LEAKAGE |  | 34 | 1033 | CAUSE | Leaking (water or other liquids) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1035', 'LEAKAGE', '1033', 'CAUSE', 'AML');
37 | 1036 | DIRTY |  | 34 | 1033 | CAUSE | Dirty | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1036', 'DIRTY', '1033', 'CAUSE', 'AML');
38 | 1037 | PHYSICAL-DAMAGE |  | 34 | 1033 | CAUSE | Physical or Mechanical problems (e.g. got hit, deformed, bent) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1037', 'PHYSICAL-DAMAGE', '1033', 'CAUSE', 'AML');
39 | 1038 | LOOSE |  | 34 | 1033 | CAUSE | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1038', 'LOOSE ', '1033', 'CAUSE', 'AML');
40 | 1039 | MECHANICAL |  |  |  |  | Rotating Equipment: pumps, fans, motors, generators, engines, HVAC, etc. | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1039', 'MECHANICAL', '', '', 'AML');
41 | 1040 | NOT-OPERATIONAL |  | 40 | 1039 | PROBLEM | Not operational (to be used for mechanical and electrical systems) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1040', 'NOT-OPERATIONAL', '1039', 'PROBLEM', 'AML');
42 | 1041 | JAMMED |  | 41 | 1040 | CAUSE | Not moving, stoped or jammed | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1041', 'JAMMED', '1040', 'CAUSE', 'AML');
43 | 1042 | ELECTRICAL-ISSUE |  | 41 | 1040 | CAUSE | Electrical problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1042', 'ELECTRICAL-ISSUE', '1040', 'CAUSE', 'AML');
44 | 1043 | COMPONENT-FAILURE |  | 41 | 1040 | CAUSE | Faulty or Blown up component | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1043', 'COMPONENT-FAILURE', '1040', 'CAUSE', 'AML');
45 | 1044 | SETTING |  | 41 | 1040 | CAUSE | Setup/Adjustment problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1044', 'SETTING', '1040', 'CAUSE', 'AML');
46 | 1045 | PERFORMANCE-ISSUE |  | 40 | 1039 | PROBLEM | Low or bad performance | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1045', 'PERFORMANCE-ISSUE', '1039', 'PROBLEM', 'AML');
47 | 1046 | SETTING |  | 46 | 1045 | CAUSE | Setup/Adjustment problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1046', 'SETTING', '1045', 'CAUSE', 'AML');
48 | 1047 | DISPLACEMENT |  | 46 | 1045 | CAUSE | Displaced/moved | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1047', 'DISPLACEMENT', '1045', 'CAUSE', 'AML');
49 | 1048 | LOOSE |  | 46 | 1045 | CAUSE | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1048', 'LOOSE ', '1045', 'CAUSE', 'AML');
50 | 1049 | VIBRATE-NOISE |  | 46 | 1045 | CAUSE | Vibration/ Noise | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1049', 'VIBRATE-NOISE', '1045', 'CAUSE', 'AML');
51 | 1050 | HIGH-TEMP |  | 46 | 1045 | CAUSE | High temperature | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1050', 'HIGH-TEMP', '1045', 'CAUSE', 'AML');
52 | 1051 | APPEARANCE |  | 40 | 1039 | PROBLEM | Appearance and cleanness problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1051', 'APPEARANCE', '1039', 'PROBLEM', 'AML');
53 | 1052 | CORROSION-EROSION |  | 52 | 1051 | CAUSE | Corrosion and Erosion | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1052', 'CORROSION-EROSION ', '1051', 'CAUSE', 'AML');
54 | 1053 | LEAKAGE |  | 52 | 1051 | CAUSE | Leaking (water or other liquids) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1053', 'LEAKAGE', '1051', 'CAUSE', 'AML');
55 | 1054 | LOOSE |  | 52 | 1051 | CAUSE | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1054', 'LOOSE ', '1051', 'CAUSE', 'AML');
56 | 1055 | DIRTY |  | 52 | 1051 | CAUSE | Dirty | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1055', 'DIRTY', '1051', 'CAUSE', 'AML');
57 | 1056 | BROKEN-CRACKED |  | 52 | 1051 | CAUSE | Broken/Cracked part | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1056', 'BROKEN-CRACKED', '1051', 'CAUSE', 'AML');
58 | 1057 | LANDSCAPING |  |  |  |  | Dead animals, Vegetation issues, Noxious Weed problems, Fallen/broken trees, Debris, Graffiti, Dumped rubbish, etc. | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1057', 'LANDSCAPING', '', '', 'AML');
59 | 1058 | DEBRIS-RUBBISH |  | 58 | 1057 | PROBLEM | Debris or dump rubbish | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1058', 'DEBRIS-RUBBISH', '1057', 'PROBLEM', 'AML');
60 | 1059 | ANIMAL |  | 58 | 1057 | PROBLEM | Dead or Live Animals | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1059', 'ANIMAL', '1057', 'PROBLEM', 'AML');
61 | 1060 | VEGETATION |  | 58 | 1057 | PROBLEM | Vegetation | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1060', 'VEGETATION', '1057', 'PROBLEM', 'AML');
62 | 1061 | NOXIOUS |  | 58 | 1057 | PROBLEM | Noxious weed | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1061', 'NOXIOUS', '1057', 'PROBLEM', 'AML');
63 | 1062 | FALLEN TREE |  | 58 | 1057 | PROBLEM | Fallen or Broken Tree | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1062', 'FALLEN TREE', '1057', 'PROBLEM', 'AML');
64 | 1063 | GRAFFITI |  | 58 | 1057 | PROBLEM | Graffiti | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1063', 'GRAFFITI', '1057', 'PROBLEM', 'AML');
65 | 1064 | VANDALISM |  | 58 | 1057 | PROBLEM | Vandalism | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1064', 'VANDALISM', '1057', 'PROBLEM', 'AML');
66 | 1065 | STRUCTURE |  |  |  |  | Structural concrete and metal systems such as bridges, signs, buildings, tunnel, fence, expansion joints, doors (Inc.: Fire), etc. | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1065', 'STRUCTURE', '', '', 'AML');
67 | 1066 | DEFORMED |  | 66 | 1065 | PROBLEM | Deformed | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1066', 'DEFORMED', '1065', 'PROBLEM', 'AML');
68 | 1067 | CORROSION-EROSION |  | 66 | 1065 | PROBLEM | Corrosion and Erosion | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1067', 'CORROSION-EROSION ', '1065', 'PROBLEM', 'AML');
69 | 1068 | LEAKAGE |  | 66 | 1065 | PROBLEM | Leaking (water or other liquids) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1068', 'LEAKAGE', '1065', 'PROBLEM', 'AML');
70 | 1069 | INTEGRITY |  | 66 | 1065 | PROBLEM | Integrity issue | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1069', 'INTEGRITY', '1065', 'PROBLEM', 'AML');
71 | 1070 | LOOSE |  | 66 | 1065 | PROBLEM | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1070', 'LOOSE ', '1065', 'PROBLEM', 'AML');
72 | 1071 | MISSING-COMPONENT |  | 66 | 1065 | PROBLEM | Missing component | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1071', 'MISSING-COMPONENT', '1065', 'PROBLEM', 'AML');
73 | 1072 | CRACKED |  | 66 | 1065 | PROBLEM | Cracked | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1072', 'CRACKED', '1065', 'PROBLEM', 'AML');
74 | 1073 | DISPLACEMENT |  | 66 | 1065 | PROBLEM | Displaced/moved | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1073', 'DISPLACEMENT', '1065', 'PROBLEM', 'AML');
75 | 1074 | APPEARANCE |  | 66 | 1065 | PROBLEM | Appearance and cleanness problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1074', 'APPEARANCE', '1065', 'PROBLEM', 'AML');
76 | 1075 | DIRTY |  | 75 | 1074 | CAUSE | Dirty | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1075', 'DIRTY', '1074', 'CAUSE', 'AML');
77 | 1076 | GRAFFITI |  | 75 | 1074 | CAUSE | Graffiti | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1076', 'GRAFFITI', '1074', 'CAUSE', 'AML');
78 | 1077 | PAVEMENT |  |  |  |  | Pavement, line marking and symbols and RPM’s, etc. | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1077', 'PAVEMENT', '', '', 'AML');
79 | 1078 | CRACKED |  | 78 | 1077 | PROBLEM | Cracked | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1078', 'CRACKED', '1077', 'PROBLEM', 'AML');
80 | 1079 | POTHOLE |  | 78 | 1077 | PROBLEM | Pothole | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1079', 'POTHOLE', '1077', 'PROBLEM', 'AML');
81 | 1080 | BLEEDING |  | 78 | 1077 | PROBLEM | Bleeding /Delamination | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1080', 'BLEEDING', '1077', 'PROBLEM', 'AML');
82 | 1081 | RUTTING |  | 78 | 1077 | PROBLEM | Deformation/water ponding/Rutting | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1081', 'RUTTING', '1077', 'PROBLEM', 'AML');
83 | 1082 | EDGE |  | 78 | 1077 | PROBLEM | Edge failures | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1082', 'EDGE', '1077', 'PROBLEM', 'AML');
84 | 1083 | ROUGHNESS |  | 78 | 1077 | PROBLEM | Roughness problem- Includes ondulation | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1083', 'ROUGHNESS', '1077', 'PROBLEM', 'AML');
85 | 1084 | SKID |  | 78 | 1077 | PROBLEM | Skid resistance problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1084', 'SKID', '1077', 'PROBLEM', 'AML');
86 | 1085 | MISSING-ITEM |  | 78 | 1077 | PROBLEM | missing items (to be used for line markers) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1085', 'MISSING-ITEM', '1077', 'PROBLEM', 'AML');
87 | 1086 | REFLECTIVITY |  | 78 | 1077 | PROBLEM | Reflectivity (to be used for line markers ) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1086', 'REFLECTIVITY', '1077', 'PROBLEM', 'AML');
88 | 1087 | HYDRAULIC |  |  |  |  | Hydraulic and piping network, mains water, drainage systems including fixture & fittings, pits and storage tanks, etc. | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1087', 'HYDRAULIC', '', '', 'AML');
89 | 1088 | LEAKAGE |  | 88 | 1087 | PROBLEM | Leaking (water or other liquids) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1088', 'LEAKAGE', '1087', 'PROBLEM', 'AML');
90 | 1089 | BLOCKED |  | 88 | 1087 | PROBLEM | Blocked | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1089', 'BLOCKED', '1087', 'PROBLEM', 'AML');
91 | 1090 | BROKEN-CRACKED |  | 88 | 1087 | PROBLEM | Broken/Cracked part | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1090', 'BROKEN-CRACKED', '1087', 'PROBLEM', 'AML');
92 | 1091 | VIBRATE-NOISE |  | 88 | 1087 | PROBLEM | Vibration/ Noise | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1091', 'VIBRATE-NOISE', '1087', 'PROBLEM', 'AML');
93 | 1092 | MISSING-COMPONENT |  | 88 | 1087 | PROBLEM | Missing component | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1092', 'MISSING-COMPONENT', '1087', 'PROBLEM', 'AML');
94 | 1093 | OVERFLOW |  | 88 | 1087 | PROBLEM | Overflow | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1093', 'OVERFLOW', '1087', 'PROBLEM', 'AML');
95 | 1094 | APPEARANCE |  | 88 | 1087 | PROBLEM | Appearance and cleanness problem | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1094', 'APPEARANCE', '1087', 'PROBLEM', 'AML');
96 | 1095 | LOOSE |  | 88 | 1087 | PROBLEM | Loose (either connection , component or structure) | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1095', 'LOOSE ', '1087', 'PROBLEM', 'AML');
97 | 1096 | DISPLACEMENT |  | 88 | 1087 | PROBLEM | Displaced/moved | insert into failurelist(failurelist, failurecode, parent, type, orgid) values ('1096', 'DISPLACEMENT', '1087', 'PROBLEM', 'AML');

## Failurecode
1000 | ELECTRICAL | Electrical Distribution and switching equipment including lighting & conduits, cable and wires. | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('ELECTRICAL', 'Electrical Distribution and switching equipment including lighting & conduits, cable and wires.', 'AML', '1000', 'EN', 0);
1001 | ELECTRONIC | Cameras, computers, sensors, ETTM, fire & life, FEC’s, ITS, fibre, communications. | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('ELECTRONIC', 'Cameras, computers, sensors, ETTM, fire & life, FEC’s, ITS, fibre, communications.', 'AML', '1001', 'EN', 0);
1002 | HYDRAULIC | Hydraulic and piping network, mains water, drainage including fixt & fitts, pits and storage tanks | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('HYDRAULIC', 'Hydraulic and piping network, mains water, drainage including fixt & fitts, pits and storage tanks', 'AML', '1002', 'EN', 0);
1003 | LANDSCAPING | Dead animals, Vegetation, Noxious Weeds, Fallen/broken trees, Debris, Graffiti, Dumped rubbish. | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('LANDSCAPING', 'Dead animals, Vegetation, Noxious Weeds, Fallen/broken trees, Debris, Graffiti, Dumped rubbish.', 'AML', '1003', 'EN', 0);
1004 | MECHANICAL | Rotating Equipment: pumps, fans, motors, generators, engines, HVAC. | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('MECHANICAL', 'Rotating Equipment: pumps, fans, motors, generators, engines, HVAC.', 'AML', '1004', 'EN', 0);
1005 | PAVEMENT | Pavement, line marking and symbols and RPM’s. | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('PAVEMENT', 'Pavement, line marking and symbols and RPM’s.', 'AML', '1005', 'EN', 0);
1006 | STRUCTURE | Structural concrete and metal systems such as bridges, signs, buildings, tunnels. | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('STRUCTURE', 'Structural concrete and metal systems such as bridges, signs, buildings, tunnels.', 'AML', '1006', 'EN', 0);
1007 | ANIMAL | Dead or Live Animals | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('ANIMAL', 'Dead or Live Animals', 'AML', '1007', 'EN', 0);
1008 | APPEARANCE | Appearance and cleanness problem | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('APPEARANCE', 'Appearance and cleanness problem', 'AML', '1008', 'EN', 0);
1009 | BLEEDING | Bleeding /Delamination | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('BLEEDING', 'Bleeding /Delamination', 'AML', '1009', 'EN', 0);
1010 | BLOCKED | Blocked | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('BLOCKED', 'Blocked', 'AML', '1010', 'EN', 0);
1011 | BROKEN-CRACKED | Broken/Cracked part | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('BROKEN-CRACKED', 'Broken/Cracked part', 'AML', '1011', 'EN', 0);
1012 | COMPONENT-FAILURE | Faulty or Blown up component | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('COMPONENT-FAILURE', 'Faulty or Blown up component', 'AML', '1012', 'EN', 0);
1013 | CORROSION-EROSION | Corrosion and Erosion | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('CORROSION-EROSION ', 'Corrosion and Erosion', 'AML', '1013', 'EN', 0);
1014 | CRACKED | Cracked | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('CRACKED', 'Cracked ', 'AML', '1014', 'EN', 0);
1015 | CUT-DISCONNECTED | Cut or disconnected | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('CUT-DISCONNECTED', 'Cut or disconnected ', 'AML', '1015', 'EN', 0);
1016 | DEBRIS-RUBBISH | Debris or dump rubbish | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('DEBRIS-RUBBISH', 'Debris or dump rubbish', 'AML', '1016', 'EN', 0);
1017 | DEFORMED | Deformed | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('DEFORMED', 'Deformed ', 'AML', '1017', 'EN', 0);
1018 | EDGE | Edge failures | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('EDGE', 'Edge failures', 'AML', '1018', 'EN', 0);
1019 | ELECTRICAL-ISSUE | Electrical problem | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('ELECTRICAL-ISSUE', 'Electrical problem', 'AML', '1019', 'EN', 0);
1020 | GRAFFITI | Graffiti | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('GRAFFITI', 'Graffiti', 'AML', '1020', 'EN', 0);
1021 | HIGH-TEMP | High temperature | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('HIGH-TEMP', 'High temperature', 'AML', '1021', 'EN', 0);
1022 | INSULATION | Insulation problem | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('INSULATION', 'Insulation problem', 'AML', '1022', 'EN', 0);
1023 | INTEGRITY | Integrity issue | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('INTEGRITY', 'Integrity issue', 'AML', '1023', 'EN', 0);
1024 | JAMMED | Not moving, stoped or jammed | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('JAMMED', 'Not moving, stoped or jammed', 'AML', '1024', 'EN', 0);
1025 | LEAKAGE | Leaking (water or other liquids) | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('LEAKAGE', 'Leaking (water or other liquids)', 'AML', '1025', 'EN', 0);
1026 | LOOSE | Loose (either connection, component or structure) | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('LOOSE ', 'Loose (either connection, component or structure)', 'AML', '1026', 'EN', 0);
1027 | PERFORMANCE-ISSUE | Low or bad performance | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('PERFORMANCE-ISSUE', 'Low or bad performance', 'AML', '1027', 'EN', 0);
1028 | PHYSICAL-DAMAGE | Physical or Mechanical problems (e.g. got hit, deformed, bent) | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('PHYSICAL-DAMAGE', 'Physical or Mechanical problems (e.g. got hit, deformed, bent)', 'AML', '1028', 'EN', 0);
1029 | MISSING-COMPONENT | Missing component | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('MISSING-COMPONENT', 'Missing component', 'AML', '1029', 'EN', 0);
1030 | DISPLACEMENT | Displaced/moved | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('DISPLACEMENT', 'Displaced/moved', 'AML', '1030', 'EN', 0);
1031 | NO-RESPONSE | No Response (for electronical devices), not operating | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('NO-RESPONSE', 'No Response (for electronical devices), not operating', 'AML', '1031', 'EN', 0);
1032 | POTHOLE | Pothole | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('POTHOLE', 'Pothole', 'AML', '1032', 'EN', 0);
1033 | POWER-LOSS | Loss of source of Power | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('POWER-LOSS', 'Loss of source of Power', 'AML', '1033', 'EN', 0);
1034 | RUTTING | Deformation/water ponding/Rutting | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('RUTTING', 'Deformation/water ponding/Rutting', 'AML', '1034', 'EN', 0);
1035 | SETTING | Setup/Adjustment problem | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('SETTING', 'Setup/Adjustment problem', 'AML', '1035', 'EN', 0);
1036 | SKID | Skid resistance problem | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('SKID', 'Skid resistance problem', 'AML', '1036', 'EN', 0);
1037 | ROUGHNESS | Roughness problem- Includes ondulation | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('ROUGHNESS', 'Roughness problem- Includes ondulation', 'AML', '1037', 'EN', 0);
1038 | VANDALISM | Vandalism | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('VANDALISM', 'Vandalism', 'AML', '1038', 'EN', 0);
1039 | VEGETATION | Vegetation | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('VEGETATION', 'Vegetation', 'AML', '1039', 'EN', 0);
1040 | VIBRATE-NOISE | Vibration/ Noise | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('VIBRATE-NOISE', 'Vibration/ Noise', 'AML', '1040', 'EN', 0);
1041 | NOXIOUS | Noxious weed | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('NOXIOUS', 'Noxious weed', 'AML', '1041', 'EN', 0);
1042 | FALLEN TREE | Fallen or Broken Tree | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('FALLEN TREE', 'Fallen or Broken Tree', 'AML', '1042', 'EN', 0);
1043 | OVERFLOW | Overflow | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('OVERFLOW', 'Overflow', 'AML', '1043', 'EN', 0);
1044 | DIRTY | Dirty | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('DIRTY', 'Dirty', 'AML', '1044', 'EN', 0);
1045 | MISSING-ITEM | missing items (to be used for line markers) | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('MISSING-ITEM', 'missing items (to be used for line markers)', 'AML', '1045', 'EN', 0);
1046 | NOT-OPERATIONAL | Not operational (to be used for mechanical and electrical systems) | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('NOT-OPERATIONAL', 'Not operational (to be used for mechanical and electrical systems)', 'AML', '1046', 'EN', 0);
1047 | REFLECTIVITY | Reflectivity (to be used for line markers ) | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('REFLECTIVITY', 'Reflectivity (to be used for line markers )', 'AML', '1047', 'EN', 0);
1048 | TRIPPED | Tripped due to over load, current or temperature. | insert into failurecode(failurecode, description, orgid, failurecodeid, langcode, hasld) values('TRIPPED', 'Tripped due to over load, current or temperature.', 'AML', '1048', 'EN', 0);